EN

ANNEX

The Annex to Regulation (EC) No 440/2008 is amended as follows:

(1)  Part 0 is amended as follows:

  - Table 2 is amended as follows:

          - in the entry ‘Skin corrosion/irritation’ the ‘In vitro’ section is replaced by the following:

| Skin corrosion/irritation | ‘In vitro: |  |
| --- | --- | --- |
|  | OECD Test Guideline 430: In vitro Skin Corrosion: Transcutaneous Electrical Resistance Test Method (TER) (2015) | B.40. |
|  | OECD Test Guideline 431: In vitro Skin Corrosion: Reconstructed Human Epidermis (RhE) Test Method (2025) | (B.40bis.) |
|  | OECD Test Guideline 435: In vitro Membrane Barrier Test Method for Skin Corrosion (2015) | B.65. |
|  | OECD Test Guideline 439: In vitro Skin Irritation: Reconstructed Human Epidermis Test Method (2025) | (B.46.) ’; |

          - in the entry ‘Serious eye damage/eye irritation’ the ‘In vitro’ section is replaced by the following:

| Serious eye damage/eye irritation | ‘In vitro: |  |
| --- | --- | --- |
|  | OECD Test Guideline 437: Bovine Corneal Opacity and Permeability Test Method for Identifying i) Chemicals Inducing Serious Eye Damage and ii) Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2025) | (B.47.) |
|  | OECD Test Guideline 438: Isolated Chicken Eye Test Method for Identifying i) Chemicals Inducing Serious Eye Damage and ii) Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2023) | (B.48.) |
|  | OECD Test Guideline 460: Fluorescein Leakage Test Method for Identifying Ocular Corrosives and Severe Irritants (2023) | (B.61.) |
|  | OECD Test Guideline 491: Short Time Exposure In Vitro Test Method for Identifying i) Chemicals Inducing Serious Eye Damage and ii) Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2025) | (B.68.) |
|  | OECD Test Guideline 492: Reconstructed Human Cornea-Like Epithelium (RhCE) Test Method for Identifying Chemicals Not Requiring Classification and Labelling for Eye Irritation or Serious Eye Damage (2025) | (B.69.) |
|  | OECD Test Guideline 492B: Reconstructed Human Cornea-like Epithelium (RHCE) Test Method for Eye Hazard Identification (2024) |  |
|  | OECD Test Guideline 494: Vitrigel-Eye Irritancy Test Method for Identifying Chemicals Not Requiring Classification and Labelling for Eye Irritation or Serious Eye Damage (2021) |  |
|  | OECD Test Guideline 496: In vitro Macromolecular Test Method for Identifying Chemicals Inducing Serious Eye Damage and Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2024) |  |
|  | OECD Test Guideline 467: Defined Approaches for Serious Eye Damage and Eye Irritation (2025)’; |  |

in the entry ‘Skin sensitisation’ the ‘In vitro’ section is replaced by the following:

| Skin sensitisation | ‘In vitro: |  |
| --- | --- | --- |
|  | OECD Test Guideline 442C: In Chemico Skin Sensitisation Assays addressing the Adverse Outcome Pathway Key Event on covalent binding to proteins (2026) | (B.59.) |
|  | OECD Test Guideline 442D: In Vitro Skin Sensitisation Assays Addressing the Adverse Outcome Pathway Key Event on Keratinocyte activation (2026) | (B.60.) |
|  | OECD Test Guideline 442E: In Vitro Skin Sensitisation: In Vitro Skin Sensitisation assays addressing the Key Event on activation of dendritic cells on the Adverse Outcome Pathway for Skin Sensitisation (2026) | (B.71.) |
|  | OECD Test Guideline 497: Defined Approaches on Skin Sensitisation (2025)’; |  |

in the entry ‘Skin sensitisation’ in the ‘In vivo’ section the row corresponding to the OECD Test Guideline 442B is replaced by the following:

|  | ‘OECD Test Guideline 442B: Skin Sensitisation – Local Lymph Node Assay: BrdU-ELISA or –FCM (2025) | (B.51.)’; |
| --- | --- | --- |

in the entry ‘Mutagenicity’ the ‘In vivo’ section is replaced by the following:

|  | ‘In vivo: |  |
| --- | --- | --- |
|  | OECD Test Guideline 475: Mammalian Bone Marrow Chromosome Aberration Test (2016) | B.11. |
|  | OECD Test Guideline 474: Mammalian Erythrocyte Micronucleus Test (2016) | B.12. |
|  | OECD Test Guideline 483: Mammalian Spermatogonial Chromosome Aberration Test (2016) | B.23. |
|  | OECD Test Guideline 488: Transgenic Rodent Somatic and Germ Cell Gene Mutation Assays (2025) | (B.58.) |
|  | OECD Test Guideline 489: In Vivo Mammalian Alkaline Comet Assay (2016) | B.62. |
|  | OECD Test Guideline 470: Mammalian Erythrocyte Pig-a Gene mutation Assay (2025)’; |  |

the entry ‘Repeated dose toxicity’ is replaced by the following:

| ‘Repeated dose toxicity | OECD Test Guideline 407: Repeated Dose 28-Day Oral Toxicity Study in Rodents (2025) | (B.7.) |
| --- | --- | --- |
|  | OECD Test Guideline 412: Subacute Inhalation Toxicity: 28-Day Study (2018) | (B.8.) |
|  | OECD Test Guideline 410: Repeated Dose Dermal Toxicity: 21/28-Day Study (1981) | B.9. |
|  | OECD Test Guideline 422: Combined Repeated Dose Toxicity Study with the Reproduction/Developmental Toxicity Screening Test (2025) | (B.64.) |
|  | OECD Test Guideline 408: Repeated Dose 90-Day Oral Toxicity Study in Rodents (2025) | (B.26.) |
|  | OECD Test Guideline 409: Repeated Dose 90-Day Oral Toxicity Study in Non-Rodents (1998) | B.27. |
|  | OECD Test Guideline 413: Subchronic Inhalation Toxicity: 90-Day Study (2018) | (B.29.) |
|  | OECD Test Guideline 411: Subchronic Dermal Toxicity: 90-Day Study (1981) | B.28. |
|  | OECD Test Guideline 452: Chronic Toxicity Studies (2018) | (B.30.) |
|  | OECD Test Guideline 453: Combined Chronic Toxicity/Carcinogenicity Studies (2018) | (B.33.)’; |

the entry ‘Reproductive/developmental toxicity’ is replaced by the following:

| ‘Reproductive/developmental toxicity | OECD Test Guideline 443: Extended One-Generation Reproduction Toxicity Study (2025) | (B.56.) |
| --- | --- | --- |
|  | OECD Test Guideline 421: Reproduction/ Developmental Toxicity Screening Test (2025) | (B.63.) |
|  | OECD Test Guideline 422: Combined Repeated Dose Toxicity Study with the Reproduction/Developmental Toxicity Screening Test (2025) | (B.64.) |
|  | OECD Test Guideline 414: Prenatal Developmental Toxicity Study (2018) | (B.31.)’; |

- in the entry ’Endocrine disrupting properties’ in the ‘In vitro’ section, the row corresponding to the OECD Test Guideline 456 is replaced by the following:

|  | ‘OECD Test Guideline 456: H295R Steroidogenesis Assay (2025) | (B.57.)’; |
| --- | --- | --- |

the entry ‘Immunotoxicity’ is replaced by the following:

|  | ‘OECD Test Guideline 444A: In vitro immunotoxicity IL-2 Luc assay (2025)’; |  |
| --- | --- | --- |

Table 3 is amended as follows:

the entry ‘Aquatic toxicity’ is replaced by the following:

| ‘Aquatic toxicity | OECD Test Guideline 201: Freshwater Alga and Cyanobacteria, Growth Inhibition Test (2011) | C.3. |
| --- | --- | --- |
|  | OECD Test Guideline 209: Activated Sludge, Respiration Inhibition Test (Carbon and Ammonium Oxidation) (2010) | C.11. |
|  | OECD Test Guideline 224: Determination of the Inhibition of the Activity of Anaerobic Bacteria (2007) | C.34. |
|  | OECD Test Guideline 244: Protozoan Activated Sludge Inhibition Test (2017) |  |
|  | OECD Test Guideline 221: Lemna sp. Growth Inhibition Test (2006) | C.26 |
|  | OECD Test Guideline 202: Daphnia sp. Acute Immobilisation Test (2004) | C.2. |
|  | OECD Test Guideline 211: Daphnia magna Reproduction Test (2012) | C.20. |
|  | OECD Test Guideline 203: Fish, Acute Toxicity Test (2025) | (C.1.) |
|  | OECD Test Guideline 210: Fish, Early-life Stage Toxicity Test (2025) | (C.47.) |
|  | OECD Test Guideline 215: Fish, Juvenile Growth Test (2000) | C.14. |
|  | OECD Test Guideline 236: Fish Embryo Acute Toxicity (FET) Test (2025) | (C.49.) |
|  | OECD Test Guideline 249: Fish Cell Line Acute Toxicity - the RTgill-W1 Cell Line Assay (2021) |  |
|  | OECD Test Guideline 242: Potamopyrgus antipodarum Reproduction Test (2016) |  |
|  | OECD Test Guideline 243: Lymnaea stagnalis Reproduction Test (2016)’; |  |

the entry ‘Degradation’ is replaced by the following:

| ‘Degradation | OECD Test Guideline 111: Hydrolysis as a Function of pH (2025) | (C.7.) |
| --- | --- | --- |
|  | OECD Test Guideline 301: Ready Biodegradability (1992) | C.4. |
|  | OECD Test Guideline 302A: Inherent Biodegradability: Modified SCAS Test (1981) | C.12. |
|  | OECD Test Guideline 302B: Inherent Biodegradability: Zahn-Wellens/ EMPA Test (1992) | (C.9). |
|  | OECD Test Guideline 302C: Inherent Biodegradability: Modified MITI Test (II) (2009) |  |
|  | OECD Test Guideline 303: Simulation Test - Aerobic Sewage Treatment -- A: Activated Sludge Units; B: Biofilms (2001) | C.10. |
|  | OECD Test Guideline 304A: Inherent Biodegradability in Soil (1981) |  |
|  | OECD Test Guideline 306: Biodegradability in Seawater (1992) | C.42. |
|  | OECD Test Guideline 307: Aerobic and Anaerobic Transformation in Soil (2025) | (C.23.) |
|  | OECD Test Guideline 308: Aerobic and Anaerobic Transformation in Aquatic Sediment Systems (2025) | (C.24.) |
|  | OECD Test Guideline 309: Aerobic Mineralisation in Surface Water – Simulation Biodegradation Test (2004) | C.25. |
|  | OECD Test Guideline 310: Ready Biodegradability - CO2 in sealed vessels (Headspace Test) (2014) | C.29. |
|  | OECD Test Guideline 311: Anaerobic Biodegradability of Organic Compounds in Digested Sludge: by Measurement of Gas Production (2006) | C.43. |
|  | OECD Test Guideline 314: Simulation Tests to Assess the Biodegradability of Chemicals Discharged in Wastewater (2008) |  |
|  | OECD Test Guideline 316: Phototransformation of Chemicals in Water – Direct Photolysis (2025) |  |
|  | EU test method C.5. Degradation – Biochemical Oxygen Demand | C.5. |
|  | EU test method C.6. Degradation – Chemical Oxygen Demand | C.6.’; |

in the entry ‘Effects on sediment organisms’ the row corresponding to the OECD Test Guideline 239 is replaced by the following:

|  | ‘OECD Test Guideline 239: Water-Sediment Myriophyllum Spicatum Toxicity Test (2025) | (C.51).’; |
| --- | --- | --- |

in the entry ‘Effects on insects’ the following row is inserted:

|  | ‘OECD Test Guideline 254: Mason bees (Osmia sp.), Acute Contact Toxicity Test (2025)’; |  |
| --- | --- | --- |

in part B, the text below the heading of Chapter B.7. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 2’.

in part B, the text below the heading of Chapter B.63. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 2’.

in part B, the text below the heading of Chapter B.64. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 2’.

in part C, the text below the heading of Chapter C.7. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 3’.

in part C, the text below the heading of Chapter C.23. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 3’.

in part C, the text below the heading of Chapter C.24., is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 3’.

in part C, the text below the heading of Chapter C.47. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 3’.

in part C, the text below the heading of Chapter C.49 is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 3’.

in part C, the text below the heading of Chapter C.51. is replaced by the following: ‘The full description of this test method has been deleted. The equivalent international test method appears in Part 0, Table 3’.