

ANNEX

The Annex to Regulation (EC) No 440/2008 is amended as follows:

1. before Part A, the following Part 0 is inserted

‘Part 0: International test methods recognised as being appropriate for generating information on intrinsic properties of substances for the purposes of Regulation 1907/2006/EC.

|  |  |  |
| --- | --- | --- |
| **TABLE 1: TEST METHODS FOR PHYSICOCHEMICAL PROP­ERTIES OF THE SUBSTANCE** | | |
| **Endpoint** | **Test method** | **Corresponding chapter, containing the full description of the test method, in Part A of this Annex (numbers in brackets indicate that the full description of the test method has been deleted from Part A; empty cell: no corresponding test method** **in Part A of this Annex)** |
| Melting point/freezing point | OECD Test Guideline 102: Melting Point/ Melting Range (1995) | A.1. |
| Boiling point | OECD Test Guideline 103: Boiling point (1995) | A.2. |
| Density | OECD Test Guideline 109: Density of Liquids and solids (2012) | (A.3.) |
| Vapour pressure | OECD Test Guideline 104: Vapour Pressure (2006) | (A.4) |
| Surface tension | OECD Test Guideline 115: Surface tension of aqueous solutions (1995) | A.5. |
| Water solubility | OECD Test Guideline 105: Water Solubility (1995) | A.6. |
| Partition coefficient  n-octanol/water | OECD Test Guideline 107: Partition coefficient (n-octanol/water): shake-flask method (1995) | (A.8.) |
| OECD Test Guideline 123: Partition Coefficient (1-Octanol/Water): Slow-Stirring Method (2006) | A.23. |
| OECD Test Guideline 117: Partition Coefficient (n-octanol/water): HPLC Method (2004) | A.24. |
| Dissociation constant | OECD Test Guideline 112: Disso­ciation Constants in Water. (1981) | A.25. |
| Viscosity | OECD TG 114: Viscosity of Liquids (2012) |  |
| Flash point | Test methods according to table 2.6.3 of Annex I, Part 2 of Regulation (EC) No 1272/2008 |  |
| Lower and upper explosion limit | EN 1839:2017 – Determination of the explosion limits and the limiting oxygen concentration (LOC) for flammable gases and vapours |  |
| Flammability | Test methods according to section 2.2.4.1. of Annex I, Part 2 of Regulation (EC) No 1272/2008 |  |
| Test L.2: sustained combustibility test, Part III, section 32 of the UN RTDG Manual of Tests and Criteria |  |
| Test N.1: test method for readily combustible solids, Part III, sub-section 33.2.4 of the UN RTDG Manual of Tests and Criteria |  |
| Test N.5: test method for substances which in contact with water emit flammable gases, Part III, sub-section 33.5.4 of the UN RTDG Manual of Tests and Criteria |  |
| Self-ignition temperature (solids) | Test N.4: test method for self-heating substances, Part III, sub-section 33.4.6 of the UN RTDG Manual of Tests and Criteria |  |
| EN 15188:2020 – Determination of the spontanous ignition behaviour of dust accumulations |  |
| Auto-ignition temperature (liquids, gases) | ISO/IEC 80079-20-1:2017 – Explosive atmospheres - Part 20-1: Material characteristics for gas and vapour classification - Test methods and data |  |
| Decomposition temperature | Test Series H, part II, section 28, of the UN RTDG Manual of Tests and Criteria |  |
| Explosive properties | Test methods according to Test series 1-3, Part I, sections 11-13 of the UN RTDG Manual of Tests and Criteria |  |
| EU Test method A.14 Explosive properties | A.14 |
| Oxidising properties | Test method according to section 2.4.4. of Annex I, Part 2 of Regulation (EC) No 1272/2008 |  |
| Test O.2: test for oxidizing liquids, Part III, sub-section 34.4.2 of the UN RTDG Manual of Tests and Criteria |  |
| Test O.1: Test for oxidizing solids, Part III, sub-section 34.4.1 of the UN RTDG Manual of Tests and Criteria |  |
| Test O.3 Gravimetric test for oxidizing solids, Part III, sub-section 34.4 3 of the UN RTDG Manual of Tests and Criteria |  |
| Pyrophoricity | Test N.3: test method for pyrophoric liquids, Part III, sub-section 33.3.1.5 of the UN RTDG Manual of Tests and Criteria |  |
| Test N.2: test method for pyrophoric solids, Part III, sub-section 33.3.1.4 of the UN RTDG Manual of Tests and Criteria |  |
| Granulometry/ particle characteristics | EU test method A.22. Length weighted geometric mean diameter of fibres | A.22. |
| ISO 13318 - Determination of particle size distribution by centrifugal liquid sedimentation methods |  |
| ISO 21501 - Determination of particle size distribution - Single particle light interaction methods |  |
| pH | OECD TG 122: Determination of pH, Acidity and Alkalinity (2013) |  |
| Properties of polymers | OECD TG 118: Determination of the Number-Average Molecular Weight and the Molecular Weight Distribution of Polymers using Gel Permeation Chromatography (1996) | A.18. |
| OECD TG 119: Determination of the Low Molecular Weight Content of a Polymer Using Gel Permeation Chromatography (1996) | A.19. |
| OECD TG 120: Solution/Extraction Behaviour of Polymers in Water (2000) | (A.20.) |

|  |  |  |
| --- | --- | --- |
| **TABLE 2: TEST METHODS FOR TOXICOLOGICAL PROPERTIES** | | |
| **Endpoint** | **Test method** | **Corresponding chapter, containing the full description of the test method, in Part B of this Annex (numbers in brackets indicate that a chapter, containing the full description of the test method, has been deleted from Part B; empty cell: no corresponding EU test method** **in Part B of this Annex)** |
| Skin corrosion/irritation | *In vitro:* | |
| OECD Test Guideline 430: *In vitro* Skin Corrosion: Transcutaneous Elec­trical Resistance Test (2015) | B.40. |
| OECD Test Guideline 431: *In vitro* Skin Corrosion: Human Skin Model Test (2019) | (B.40bis.) |
| OECD Test Guideline 435: *In vitro* Membrane Barrier Test Method for Skin Corrosion (2015) | B.65. |
| OECD Test Guideline 439: *In vitro* Skin Irritation: Reconstructed Human Epidermis Test Method (2021) | (B.46.) |
| *In vivo:* | |
| OECD Test Guideline 404: Acute Dermal Irritation/Corrosion (2015) | B.4. |
| Serious eye damage/eye irritation | *In vitro:* | |
| OECD Test Guideline 437: Bovine Corneal Opacity and Permeability Test Method for Identifying i) Chemicals Inducing Serious Eye Damage and ii) Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2020) | (B.47.) |
| OECD Test Guideline 438: Isolated Chicken Eye Test Method for Identifying i) Chemicals Inducing Serious Eye Damage and ii) Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2018) | (B.48.) |
| OECD Test Guideline 460: Fluorescein Leakage Test Method for Identifying Ocular Corrosives and Severe Irritants (2017) | (B.61.) |
| OECD test guideline 491: Short Time Exposure In Vitro Test Method for Identifying i) Chemicals Inducing Serious Eye Damage and ii) Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2020) | (B.68.) |
| OECD test guideline 492: Reconstructed human Cornea-like Epithelium (RhCE) test method for identifying chemicals not requiring classification and labelling for eye irritation or serious eye damage (2019) | (B.69.) |
| OECD test guideline 494: Vitrigel-Eye Irritancy Test Method for Identifying Chemicals Not Requiring Classification and Labelling for Eye Irritation or Serious Eye Damage (2021) |  |
| OECD test guideline 496: In vitro Macromolecular Test Method for Identifying Chemicals Inducing Serious Eye Damage and Chemicals Not Requiring Classification for Eye Irritation or Serious Eye Damage (2019) |  |
| *In vivo:* | |
| OECD Test Guideline 405: Acute eye irritation/corrosion (2021) | (B.5.) |
| Skin sensitisation | *In vitro:* | |
| OECD Test Guideline 442C: In chemico skin sensitisation: Direct peptide reactivity assay (DPRA) (2021) | (B.59.) |
| OECD Test Guideline 442D: In vitro skin sensitisation: ARE-NRF2 Luciferase test method (2018) | (B.60.) |
| OECD Test Guideline 442E: In Vitro Skin Sensitisation: In Vitro Skin Sensitisation assays addressing the Key Event on activation of dendritic cells on the Adverse Outcome Pathway for Skin Sensitisation (2018) | (B.71.) |
| OECD Test Guideline 497: Defined Approaches on Skin Sensitisation (2021) |  |
| *In vivo:* | |
| OECD Test Guideline 429: Skin Sensitisation - Local Lymph Node Assay (2010) | B.42. |
| OECD Test Guideline 442A: Skin Sensitisation - Local Lymph Node Assay: DA (2010) | B.50. |
| OECD Test Guideline 442B: Skin Sensitisation - Local Lymph Node Assay: BrdU-ELISA (2018) | (B.51.) |
| OECD Test Guideline 406: Skin sensitisation (2021) | (B.6.) |
| Mutagenicity | *In vitro:* | |
| OECD Test Guideline 471: Bacterial Reverse Mutation Test (2020) | (B.13./14.) |
| OECD Test Guideline 476: *In vitro* Mammalian Cell Gene Mutation Test using the Hprt and xprt genes (2016) | (B.17.) |
| OECD Test Guideline 490: In Vitro Mammalian Cell Gene Mutation Tests Using the Thymidine Kinase Gene (2016) | B.67. |
| OECD Test Guideline 473: *In vitro* Mammalian Chromosome Aberration Test (2016) | B.10. |
| OECD Test Guideline 487. *In vitro* Mammalian Cell Micronucleus Test (2016) | B.49. |
| *In vivo:* | |
| OECD Test Guideline 475: Mammalian Bone Marrow Chro­mosome Aberration Test (2016) | B.11. |
| OECD Test Guideline 474: Mammalian Erythrocyte Micronucleus Test (2016) | B.12. |
| OECD Test Guideline 483: Mammalian Spermatogonial Chro­mosome Aberration Test (2016) | B.23. |
| OECD Test Guideline 488: Transgenic Rodent Somatic and Germ Cell Gene Mutation Assays (2020) | (B.58.) |
| OECD Test Guideline 489: In Vivo Mammalian Alkaline Comet Assay (2016) | B.62. |
| Acute toxicity | *Oral:* | |
| OECD Test Guideline 420: Acute oral toxicity: fixed dose procedure (2002) | B.1 bis. |
| OECD Test Guideline 423: Acute oral toxicity: acute toxic class method (2002) | B.1 tris. |
| OECD Test Guideline 425: Acute oral toxicity: up-and-down procedure (2008) |  |
| *Dermal:* | |
| OECD Test Guideline 402: Acute Dermal Toxicity (2017) | (B.3.) |
| *Inhalation:* | |
| OECD Test Guideline 403: Acute Inhalation Toxicity (2009) | B.2. |
| OECD Test Guideline 436: Acute Inhalation Toxicity - Acute Toxic Class Method (2009) | B.52. |
| OECD test guideline 433: Acute Inhalation Toxicity: Fixed Concentration Procedure (2018) |  |
| Repeated dose toxicity | OECD Test Guideline 407: Repeated dose 28-day oral toxicity study in rodents (2008) | B.7. |
| OECD Test Guideline 412: Subacute inhalation toxicity: 28-day study (2018) | (B.8.) |
| OECD Test Guideline 410: Repeated dose dermal toxicity: 21/28-day study (1981) | B.9. |
| OECD Test Guideline 422: Combined Repeated Dose Toxicity Study with the Reproduction/Developmental Toxicity Screening Test (2016) | B.64. |
| OECD Test Guideline 408: Repeated dose 90-day oral toxicity study in rodents (2018) | (B.26.) |
| OECD Test Guideline 409: Repeated dose 90-day oral toxicity study in non-rodents (1998) | B.27. |
| OECD Test Guideline 413: Subchronic inhalation toxicity: 90-day study (2018) | (B.29.) |
| OECD Test Guideline 411: Subchronic dermal toxicity: 90-day study (1981) | B.28. |
| OECD Test Guideline 452: Chronic Toxicity Studies (2018) | (B.30.) |
| OECD Test Guideline 453: Combined Chronic Toxicity/Carcinogenicity Studies (2018) | (B.33.) |
| Reproductive/developmental toxicity | OECD Test Guideline 443: Extended One-generation Reproduction Toxicity Study (2018) | (B.56.) |
| OECD Test Guideline 421: Reproduction/ Developmental Toxicity Screening Test (2016) | B.63. |
| OECD Test Guideline 422: Combined Repeated Dose Toxicity Study with the Reproduction/Developmental Toxicity Screening Test (2016) | B.64. |
| OECD Test Guideline 414: Prenatal developmental toxicity study (2018) | (B.31.) |
| Toxicokinetics | OECD Test Guideline 417: Toxico­kinetics (2010) | B.36. |
| OECD Test Guideline 428: Skin Absorption: In Vitro Method (2004) | B.45. |
| OECD Test Guideline 427: Skin Absorption: In Vivo Method (2004) | B.44. |
| Carcinogenicity | OECD Test Guideline 451: Carcinoge­nicity Studies (2018) | (B.32.) |
| OECD Test Guideline 453: Combined Chronic Toxicity/Carcinogenicity (2018) | (B.33.) |
| EU test method B.21 In vitro mammalian cell transformation test | B.21. |
| OECD Series on Testing and Assessment No. 214: Guidance Document on the In Vitro Syrian Hamster Embryo (SHE) Cell Transformation Assay (2015) |  |
| OECD Series on Testing and Assessment No. 231: Guidance Document on the In Vitro Bhas 42 Cell Transformation Assay (BHAS 42 CTA) (2016) |  |
| (Developmental) Neurotoxicity | OECD Test Guideline 424: Neur­otoxicity study in rodents (1997) | B.43. |
| OECD Test Guideline 426: Devel­opmental neurotoxicity study (2007) | B.53. |
| OECD Test Guideline 418: Delayed Neurotoxicity of Organophosphorus Substances Following Acute Exposure (1995) | B.37. |
| OECD Test Guideline 419: Delayed Neurotoxicity of Organophosphorus Substances: 28-day Repeated Dose Study (1995) | B.38. |
| Endocrine disrupting properties | *In vitro* | |
| OECD Test Guideline 455: Performance-Based Test Guideline for Stably Transfected Transactivation In Vitro Assays to Detect Estrogen Receptor Agonists and Antagonistsals (2021) | (B.66.) |
| OECD Test Guideline 456: H295R Steroidogenesis Assay (2011) | B.57. |
| OECD Test Guideline 458: Stably Transfected Human Androgen Receptor Transcriptional Activation Assay for Detection of Androgenic Agonist and Antagonist Activity of Chemicals (2020) |  |
| OECD Test Guideline 493: Performance-Based Test Guideline for Human Recombinant Estrogen Receptor (hrER) In Vitro Assays to Detect Chemicals with ER Binding Affinity (2015) | B.70. |
| *In vivo* | |
| OECD Test Guideline 440: Uterotrophic Bioassay in Rodents A short­-term screening test for oestrogenic properties (2007) | B.54. |
| OECD Test Guideline 441: Hershberger Bioassay in Rats, A Short-term Screening Assay for (Anti)Androgenic Properties (2009) | B.55. |
| Phototoxicity | OECD Test Guideline 432: *In vitro* 3T3 NRU Phototoxicity Test (2019) | (B.41.) |
| OECD Test Guideline 495: Ros (Reactive Oxygen Species) Assay for Photoreactivity (2019) |  |
| OECD Test Guideline 498: In vitro phototoxicity test method using the Reconstructed human Epidermis (RhE) (2021) |  |

|  |  |  |
| --- | --- | --- |
| **TABLE 3: TEST METHODS FOR ECOTOXICOLOGICAL PROPERTIES** | | |
| **Endpoint** | **Test method** | **Corresponding chapter in Part C, containing the full description of the test method, of this Annex (numbers in brackets indicate that a chapter, containing the full description of the test method, has been deleted from Part C; empty cell: no corresponding EU test method** **in Part C of this Annex)** |
| Aquatic toxicity | OECD Test Guideline 201: Freshwater Alga and Cyanobacteria, Growth Inhibition Test (2011) | C.3. |
| OECD test guideline 209: Activated Sludge, Respiration Inhibition Test (Carbon and Ammonium Oxidation) (2010) | C.11. |
| OECD test guideline 224: Determination of the Inhibition of the Activity of Anaerobic Bacteria (2007) | C.34. |
| OECD test guideline 244: Protozoan Activated Sludge Inhibition Test (2017) |  |
| OECD test guideline 221: Lemna sp. Growth Inhibition Test (2006) | C.26. |
| OECD Test Guideline 202: Daphnia sp. Acute Immobilisation Test (2004) | C.2. |
| OECD Test Guideline 211: Daphnia magna Reproduction Test (2012) | C.20. |
| OECD Test Guideline 203: Fish, Acute Toxicity Test (2019) | (C.1.) |
| OECD test guideline 210: Fish, Early-life Stage Toxicity Test (2013) | C.47. |
| OECD Test Guideline 215: Fish, Juvenile Growth Test (2000) | C.14. |
| OECD test guideline 236: Fish Embryo Acute Toxicity (FET) Test (2013) | C.49. |
| OECD test guideline 249: Fish cell line acute toxicity - the RTgill-W1 cell line assay (2021) |  |
| OECD test guideline 242: Potamopyrgus antipodarum Reproduction Test (2016) |  |
| OECD test guideline 243: Lymnaea stagnalis Reproduction Test (2016) |  |
|  |  |
|  |  |
| Degradation | OECD test guideline 111: Hydrolysis as a Function of pH (2004) | C.7. |
| OECD test guideline 301: Ready Biodegradability (1992) | C.4. |
| OECD test guideline 302A: Inherent Biodegradability: Modified SCAS Test (1981) | C.12. |
| OECD test guideline 302B: Inherent Biodegradability: Zahn-Wellens/ EMPA Test (1992) | (C.9). |
| OECD test guideline 302C: Inherent Biodegradability: Modified MITI Test (II) (2009) |  |
| OECD test guideline 303: Simulation Test - Aerobic Sewage Treatment -- A: Activated Sludge Units; B: Biofilms (2001) | C.10. |
| OECD test guideline 304A: Inherent Biodegradability in Soil (1981) |  |
| OECD test guideline 306: Biodegradability in Seawater (1992) | C.42. |
| OECD test guideline 307: Aerobic and Anaerobic Transformation in Soil (2002) | C.23. |
| OECD test guideline 308: Aerobic and Anaerobic Transformation in Aquatic Sediment Systems (2002) | C.24. |
| OECD test guideline 309: Aerobic Mineralisation in Surface Water – Simulation Biodegradation Test (2004) | C.25. |
| OECD test guideline 310: Ready Biodegradability - CO2 in sealed vessels (Headspace Test) (2014) | C.29. |
| OECD test guideline 311: Anaerobic Biodegradability of Organic Compounds in Digested Sludge: by Measurement of Gas Production (2006) | C.43. |
| OECD test guideline 314: Simulation Tests to Assess the Biodegradability of Chemicals Discharged in Wastewater (2008) |  |
| OECD test guideline 316: Phototransformation of Chemicals in Water – Direct Photolysis (2008) |  |
| EU test method C.5. Degradation – biochemical oxygen demand | C.5. |
| EU test method C.6. Degradation – chemical oxygen demand | C.6. |
| Fate and behaviour in the environment | OECD Test Guideline 305: Bioaccumulation in Fish: Aqueous and Dietary Exposure (2012) | C.13. |
| OECD test guideline 315: Bioaccumulation in Sediment-dwelling Benthic Oligochaetes (2008) | C.46. |
| OECD test guideline 317: Bioaccumulation in Terrestrial Oligochaetes (2010) | C.30. |
| OECD test guideline 318: Dispersion Stability of Nanomaterials in Simulated Environmental Media (2017) |  |
| OECD Series on Testing and Assessment No. 29: Guidance Document on Transformation/Dissolution of Metals and Metal Compounds in Aqueous Media (2001) |  |
| OECD test guideline 121: Estimation of the Adsorption Coefficient (Koc) on Soil and on Sewage Sludge using High Performance Liquid Chromatography (HPLC) (2001) | C.19. |
| OECD test guideline 106: Adsorption - Desorption Using a Batch Equilibrium Method (2000) | C.18. |
| OECD test guideline 312: Leaching in Soil Columns (2004) | C.44. |
| OECD test guideline 313: Estimation of Emissions from Preservative - Treated Wood to the Environment (2007) | C.45. |
| OECD test guideline 319A: Determination of in vitro intrinsic clearance using cryopreserved rainbow trout hepatocytes (RT-HEP) (2018) |  |
| OECD test guideline 319B: Determination of in vitro intrinsic clearance using rainbow trout liver S9 sub-cellular fraction (RT-S9) (2018) |  |
| Effects on terrestrial organisms | OECD test guideline 216: Soil Microorganisms: Nitrogen Transformation Test (2000) | C.21. |
| OECD test guideline 217: Soil Microorganisms: Carbon Transformation Test (2000) | C.22. |
| OECD test guideline 207: Earthworm, Acute Toxicity Tests (1984) | C.8. |
| OECD test guideline 222: Earthworm Reproduction Test (Eisenia fetida/Eisenia andrei) (2016) | (C.33.) |
| OECD test guideline 220: Enchytraeid Reproduction Test (2016) | (C.32.) |
| OECD test guideline 226: Predatory mite (Hypoaspis (Geolaelaps) aculeifer) reproduction test in soil (2016) | (C.36.) |
| OECD test guideline 232: Collembolan Reproduction Test in Soil (2016) | (C.39.) |
| OECD test guideline 208: Terrestrial Plant Test: Seedling Emergence and Seedling Growth Test (2006) | C.31. |
| OECD test guideline 227: Terrestrial Plant Test: Vegetative Vigour Test (2006) |  |
| Effects on sediment organisms | OECD test guideline 218: Sediment-Water Chironomid Toxicity Using Spiked Sediment (2004) | C.27. |
| OECD test guideline 219: Sediment-Water Chironomid Toxicity Using Spiked Water (2004) | C.28. |
| OECD test guideline 233: Sediment-Water Chironomid Life-Cycle Toxicity Test Using Spiked Water or Spiked Sediment (2010) | C.40. |
| OECD test guideline 235: Chironomus sp., Acute Immobilisation Test (2011) |  |
| OECD test guideline 225: Sediment-Water Lumbriculus Toxicity Test Using Spiked Sediment (2007) | C.35. |
| OECD test guideline 238: Sediment-Free Myriophyllum Spicatum Toxicity Test (2014) | C.50. |
| OECD test guideline 239: Water-Sediment Myriophyllum Spicatum Toxicity Test (2014) | C.51. |
| Effects on birds | OECD test guideline 205: Avian Dietary Toxicity Test (1984) |  |
| OECD test guideline 206: Avian Reproduction Test (1984) |  |
| OECD test guideline 223: Avian Acute Oral Toxicity Test (2016) |  |
| Effects on insects | OECD test guideline 213: Honeybees, Acute Oral Toxicity Test (1998) | C.16. |
| OECD test guideline 214: Honeybees, Acute Contact Toxicity Test (1998) | C.17. |
| OECD test guideline 237: Honey Bee (Apis Mellifera) Larval Toxicity Test, Single Exposure (2013) |  |
| OECD test guideline 245: Honey Bee (Apis Mellifera L.), Chronic Oral Toxicity Test (10-Day Feeding) (2017) |  |
| OECD test guideline 246: Bumblebee, Acute Contact Toxicity Test (2017) |  |
| OECD test guideline 247: Bumblebee, Acute Oral Toxicity Test (2017) |  |
| OECD test guideline 228: Determination of Developmental Toxicity to Dipteran Dung Flies(Scathophaga stercoraria L. (Scathophagidae), Musca autumnalis De Geer (Muscidae)) (2016) |  |
| Endocrine disrupting properties | OECD test guideline 230: 21-day Fish Assay (2009) | C.37. |
| OECD test guideline 229: Fish Short Term Reproduction Assay (2012) | C.48. |
| OECD test guideline 231: Amphibian Metamorphosis Assay (2009) | C.38. |
| OECD test guideline 234: Fish Sexual Development Test (2011) | C.41. |
| OECD test guideline 240: Medaka Extended One Generation Reproduction Test (MEOGRT) (2015) | C.52. |
| OECD test guideline 241: The Larval Amphibian Growth and Development Assay (LAGDA) (2015) | C.53. |
| OECD test guideline 248: Xenopus Eleutheroembryonic Thyroid Assay (XETA) (2019) |  |
| OECD test guideline 250: EASZY assay - Detection of Endocrine Active Substances, acting through estrogen receptors, using transgenic tg(cyp19a1b:GFP) Zebrafish embrYos(2021)’ |  |

1. in part A, the text below the title of each of the Chapters A.3., A.4., A.8. to A.12., A.15. to A.17., A.20. and A.21. is replaced by: ‘The full description of this test method has been deleted. The equivalent international test method, or other applicable test methods for the endpoint in question, appear in Table 1 of Part 0.’
2. in part B, the text below the title of each of the Chapters B.3., B.5., B.6., B.8., B. 13/14., B.17., B.26., B.29. to B.33., B.40bis., B.41., B.46. to B.48., B.51., B.56., B.58. to B.61., B.66., B.68., B.69. and B.71. is replaced by: ‘The full description of this test method has been deleted. The equivalent international test method appears in Table 2 of Part 0.’
3. in part B, the text below the title of each of the Chapters B.22., B.25., B.34., B.35., B.39. is replaced by: ‘This test method has been deleted, as it is no longer recognised as being appropriate for generating information on the toxicological properties of chemicals for the purpose of Regulation (EC) No 1907/2006. The applicable test methods for the endpoint in question appear in Table 2 of Part 0.’
4. in part C the text below the title of each of the Chapters C.1., C.9., C.32., C.33., C.36. and C.39. is replaced by: ‘The full description of this test method has been deleted. The equivalent international test method appears in Table 3 of Part 0.’
5. in part C, the text below the title of Chapters C.15 is replaced by: ‘This test method has been deleted, as it is no longer recognised as being appropriate for generating information on the ecotoxicological properties of chemicals for the purpose of Regulation (EC) No 1907/2006. The applicable test methods for the endpoint in question appear in Table 3 of Part 0.’